## Slide 1
Modern approaches to sequencing
(and some history)
Konrad Paszkiewicz
January 2015

## Slide 2: Contents
History of DNA
Review of first generation sequencing techniques
Short read second generation sequencing technology
Third generation single molecule sequencing
Nanopore sequencing

## Slide 3: A history of DNA

## Slide 4
“The double helix is indeed a remarkable molecule.
Modern man is perhaps 50,000 years old, civilization
has existed for scarcely 10,000 years and the United
States for only just over 200 years; but DNA and
RNA have been around for at least several billion
years.
All that time the double helix has been there,
and active, and yet we are the first creatures on Earth
to become aware of its existence.”
Francis Crick (1916–2004)
Notes: We’re all brought here by the study of DNA.
I'm amazed by DNA. It is a molecule which over the course of 3-4 billion years has evolved an organism capable of discovering, studying and modifying the molecule which encodes it.
We're the first creatures to be able to do this. And it all happened over the course of the last 150 years.

## Slide 5: The first person to isolate DNA
Friedrich Miescher
  Born with poor hearing
  Father was a doctor and refused to allow Freidrich to become a priest
Graduated as a doctor in 1868
  Persuaded by his uncle not to become a practising doctor and instead pursue natural science
  But he was reluctant…
Friedrich Miescher

## Slide 6: Biology PhD angst in the 1800s
“I already had cause to regret that I had so little experience with mathematics and physics… For this reason many facts still remained obscure to me.”
Friedrich Miescher
His uncle counselled:
“I believe you overestimate the importance of special training…”
Notes: His uncle basically said ‘ eh, don’t worry about it. So, long as you work hard and do your best, you’ll be fine’

## Slide 7: 1869 - First isolation of DNA
Worked in Felix Hoppe-Seyler’s laboratory in Tubingen, Germany
  The founding father of biochemistry
The lab was one of the first to crystallise haemoglobin and describe the interaction between haemoglobin and oxygen
Freidrich extracted ‘nuclein’ on cold winter nights
  Initially from human leukocytes extracted from bandage pus from the local hospital
  Later from salmon sperm
Friedrich Miescher
Felix Hoppe-Seyler

## Slide 8: Meischer’s isolation technique
Cells from surgical bandages or salmon sperm
Alcohol to remove outer cell membrane
Pepsin from pig stomachs
Basic solution to dissolve nuclein in the nucleus
Acid solution to precipitate the nuclein
Difficult to do without also precipitating bound protein
http://www.howdoweknowit.com/2013/07/03/how-do-we-know-the-genetic-code-part-2/

## Slide 9: Biology PhD angst in the 1800s
“I go at 5am to the laboratory and work in an unheated room. No solution can stand for more than 5 minutes… Often it goes on until late into the night.”
Friedrich Miescher
His student remembered:
Friedrich failed to turn up for his own wedding. We went off to look for him. We found him quietly working in his laboratory.

## Slide 10: 1874 - First hints to composition
By 1874 Meischer had determined that nuclein was
  A four basic acid
  High molecular weight
  Nuclein was bound to ‘protamin’
Came close to guessing its function
  “If one wants to assume that a single substance is the specific cause of fertilisation, the one should undoubtedly first and foremost consider nuclein”
  Discarded the idea because he thought it unlikely that nuclein could encode sufficient information
Friedrich Miescher

## Slide 11: 1881 - Discovering the composition of nuclein
Kossel worked in the same lab as Freidrich Miescher
Discovered fundamental building blocks of nuclein
  Purine and pyrimidine bases, sugar and phosphoric acid
  Identified histone proteins and that nuclein was bound to histone in the nucleus
  Inferred that nuclein was not used for energy storage but was linked to cell growth
Albrecht Kossel

## Slide 12: 1890s - Molecular basis of heredity
Lots of theories
  Stereo-isomers
  Asymmetric atoms
  Complex molecules
Realisation that hereditary information is transmitted by one or more molecules
1893 August Weismann – germ plasm theory
1894 Eduard Strasburger- “nuclei from nuclei”
August Weismann
Eduard Strasburger
Notes: August Weismann - His germ plasm theory states that multicellular organisms consist of germ cells that contain and transmit heritable information, and somatic cells which carry out ordinary bodily functions. Inheritance takes place only via the gonads
He came up with one of the modern laws of plant cytology: "New cell nuclei can only arise from the division of other nuclei." and originated the terms cytoplasm and nucleoplasm.
Together with Walther Flemming, and Edouard van Beneden he elucidated chromosome distribution during cell division. His work on the upward movement of tree sap proved that the process was physical and not physiological

## Slide 13: 1900 - What we knew
Unknown
Mendel’s lost laws
Base composition of nucleic acids
Role of the nucleus
Distinction between RNA and DNA
Significance of chromosomes
That enzymes were proteins
Most of biochemistry
Known
Distinction between proteins and nucleic acids
Somehow nuclein was involved in cell growth
Somehow the nucleus was involved in cell division

## Slide 14: 1910s - More on the composition of DNA
Determined relative composition of sugars, phosphate and sugars by hydrolysis of nucleic acid
Close relative of TNT explosive
Phoebus Levene
Enabled the discovery of DNA and RNA bases
Unfortunately, this method can destroy bases and bias results
Made it impossible to compare composition between species
Phoebus Levene proposed the tetranucleotide hypothesis
  DNA consisted of repeating units of thymine, guanine adenine and cytosine
  E.g. GACT GACT GACT
  Convinced many that DNA could not be a carrier of hereditary information
  Led to the assumption that DNA was just a structural component of cells

## Slide 15: 1910-30s - Chromosome theory of heredity
Chromosome as a unit of heritability confirmed by Thomas Morgan
Alfred Sturtevant creates the first genetic linkage map
Genetic recombination shown to be caused by physical recombination of chromosomes by McClintock & Creighton
Barbara McClintock
Thomas Morgan
Notes: Remember that at this stage we still had no idea what genes were composed of

## Slide 16: 1928 - Inheritance of virulence
Established that non-virulent pneumococci bacteria could be converted be made virulent by exposure to lysed virulent bacteria
Frederick Griffiths
“Could do more with a kerosene tin and a primus stove than most men could do with a palace”
Hedley Wright
http://mic.sgmjournals.org/content/73/1/1.full.pdf
What was the ‘transforming principle’ which underlay this observation?

## Slide 17: 1944 – What is life?
An ‘aperiodic solid crystal’ could code for an organism
“A well-ordered association of atoms endowed with sufficient resistivity to keep its order permanently”
Also placed living systems into a thermodynamic framework
Inspiration for Watson & Crick
Erwin Schrodinger
Notes: Postulated that an (aka a polymer) aperiodic solid crystal’ could code for an organism

## Slide 18: 1944 – Establishing DNA as the transforming principle
Separated cellular components and repeated Griffiths experiments
Enabled by new ‘ultra-centrifugation’ technology
Extended Griffiths work to prove that nucleic acids were the ‘transforming principle’
Also demonstrated that DNA, not RNA was the genetic material
Incredibly small amounts – 1 in 600 million were sufficient to induce transformation
Oswald Avery
http://www.ncbi.nlm.nih.gov/pmc/articles/PMC2135445/
Notes: Idea still encountered a lot of resistance.

## Slide 19: 1950 – Base composition between organisms
Developed the base complementarity hypothesis
Determined that the molar ratio of A/T and G/C were always very close to 1
Relative proportions of bases varied between species but was the same within species
Refuted Levene’s 30 year-old tetranucleotide hypothesis
Erwin Chargaff
Notes: Later in life he decried the field of molecular biology saying that it was “running riot and doing things that can never be justified"

## Slide 20: 1952- Confirmation of Avery’s experiment
Bacteriophages infected bacteria by injecting DNA, not protein
Finally confirmed the role of DNA as genetic material
http://en.wikipedia.org/wiki/Hershey%E2%80%93Chase_experiment
Hershey Chase experiment
Notes: Label phage protein coat red and DNA green. Demonstrated that it was only the DNA which entered the cell and not the protein.

## Slide 21: 1952 – X-ray diffraction patterns of DNA
Wilkins, Franklin and Gosling
Much improved X-ray diffraction patterns of the B-form of DNA
Wilkins developed a method to obtain improved diffraction patterns using sodium thymonucleate to draw out long thin strands of DNA
http://paulingblog.wordpress.com/2009/07/09/the-x-ray-crystallography-that-propelled-the-race-for-dna-astburys-pictures-vs-franklins-photo-51/
Photo Number 51
Notes: Previous experiments had always been hindered by a mixture of B-form and Z-form DNA

## Slide 22: 1953 – Watson & Crick obtain a structure for DNA
B-model of DNA
Relied upon data from Maurice Wilkins and Rosalind Franklin via Maz Perutz
"It has not escaped our notice that the specific pairing we have postulated immediately suggests a possible copying mechanism for the genetic material.“
Broad acceptance of the structure did not occur until around 1960
Francis Crick & James Watson

## Slide 23: 1958 – Evidence for the mechanism of DNA replication
http://en.wikipedia.org/wiki/Meselson%E2%80%93Stahl_experiment
Meselson & Stahl
Supported Watson & Crick’s hypothesis of semi-conservative DNA replication
Notes: E. coli were grown for several generations in a medium with 15N. When DNA is extracted from these cells and centrifuged on a salt density gradient, the DNA separates out at the point at which its density equals that of the salt solution. The DNA of the cells grown in 15N medium had a higher density than cells grown in normal 14N medium. After that, E. coli cells with only 15N in their DNA were transferred to a 14N medium and were allowed to divide; the progress of cell division was monitored by microscopic cell counts and by colony assay.
DNA was extracted periodically and was compared to pure 14N DNA and 15N DNA. After one replication, the DNA was found to have intermediate density. Since conservative replication would result in equal amounts of DNA of the higher and lower densities (but no DNA of an intermediate density), conservative replication was excluded. However, this result was consistent with both semiconservative and dispersive replication. Semiconservative replication would result in double-stranded DNA with one strand of 15N DNA, and one of 14N DNA, while dispersive replication would result in double-stranded DNA with both strands having mixtures of 15N and 14N DNA, either of which would have appeared as DNA of an intermediate density.
The authors continued to sample cells as replication continued. DNA from cells after two replications had been completed was found to consist of equal amounts of DNA with two different densities, one corresponding to the intermediate density of DNA of cells grown for only one division in 14N medium, the other corresponding to DNA from cells grown exclusively in 14N medium. This was inconsistent with dispersive replication, which would have resulted in a single density, lower than the intermediate density of the one-generation cells, but still higher than cells grown only in 14N DNA medium, as the original 15N DNA would have been split evenly among all DNA strands. The result was consistent with the semiconservative replication hypothesis.[6]
Locked in a room by Max Delbruck to write the paper. Feynmann took an interest too!

## Slide 24: 1958 – Evidence for the mechanism of DNA replication

## Slide 25: Other developments in molecular biology
1954 - George Gamow proposed a 3-letter code
1955 – Polynucleotide phosphorylase discovered
  Enabled synthesis of homogeneous nucleotide polymers
1957 – Crick lays out ‘central dogma’
1957-1963
  RNA structure
  Work on DNA-RNA hybridization
1960s
  Crystal structures of tRNAs
  Role in protein synthesis
  Role of ribosomes

## Slide 26: 1961 - Deciphering the genetic code
How did DNA code for proteins?
Nirenberg and Matthaei
Used polynucleotide phophorylase to construct a poly-uracil polymer
Added to a cell-free system containing ribosomes, nucleotides, amino acids, energy
This produced an amino acid chain of phenylalanine
Completed in mid 1960s by Har Gobind Khohrana

## Slide 27: Other key figures
Max Delbruck
  Physicist who helped found molecular biology
Salvador Luria
  James Watson’s PhD supervisor
  Demonstrated with Delbruck that inheritance in bacteria was Darwinian and not Lamarkian
Linus Pauling
  Proposed triple helix model for DNA
Lawrence Bragg
  Hosted Watson & Crick
  Rival of Pauling’s
Jerry Donohue, William Astbury, Raymond Gosling, John Randall, Fred Neufield, Herbert Wilson…
Notes: Heritability of acquired characteristics

## Slide 28: 1962
Nobel Prize awarded for Physiology or Medicine to Watson, Crick and Wilkins
Rosalind Franklin died in 1958 of suspected radiation induced cancer

## Slide 29: First generation sequencing

## Slide 30: The development of sequencing methodologies
What do we mean by ‘sequencing’?
Determining the order and identity of chemical units in a polymer chain
  Amino acids in the case of proteins
  Nucleotides in the case of RNA and DNA
Why do we do it?
  3D structure and function is dependent on sequence

## Slide 31: 1949 – Amino acids
Sequenced bovine insulin
Developed a method to label N-terminal amino acids
  Enabled him to count four polypeptide chains
Used hydrolysis and chromatography to identify fragments
Fred Sanger

## Slide 32: 1965 - RNA sequencing and structure
Sequenced transfer RNA of alanine
Used 2 ribonuclease enzymes to cleave the enzyme at specific motifs
Chromatography
1968 Nobel prize
http://www.sciencemag.org/content/147/3664/1462
Robert Holley

## Slide 33: 1975 - The dawn DNA sequencing
Between 1975-1977 three methods of DNA sequencing were published
Fred Sanger’s Plus/Minus method
Maxam-Gilbert
Fred Sanger’s chain termination method
Notes: Sanger tried to use the methods he developed for proteins, but found the similarity of nucleotides prevented easy separation

## Slide 34: Maxam-Gilbert Sequencing
Maxam-Gilbert sequencing is performed by chain breakage at specific nucleotides.
G
G
G
G
G
A
G
G
A
G
A
A
C
T
T
C
T
C
C
T
C
C
C
C
Dimethyl Sulfate
Hydrazine
Dimethyl Sulfate
+
Formic Acid
Hydrazine
+
NaCl
Radio label
Notes: How to maim yourself in a lab in 4 easy steps:
Dimethyl sulfate – extremely toxic
Formic acid – ant defensive spray
Rocket fuel
Oh and salt…

## Slide 35: Maxam-Gilbert Sequencing

## Slide 36: Maxam-Gilbert Sequencing
Sequencing gels are read from bottom to top (5′ to 3′).
G G+A T+C C
3′
A
A
G
C
A
A
C
G
T
G
C
A
G
5′
Longer fragments
Shortest fragments
G
A

## Slide 37: Sanger di-deoxy sequencing method

## Slide 38: Sanger Sequencing
Uses a mixture of radio-labelled di-deoxy (ddNTP) and dexoy (dNTP) nucleotides to terminate base incorporation as soon as a ddNTP is encountered
With addition of enzyme (DNA polymerase), the primer is extended until a ddNTP is encountered.
The chain will end with the incorporation of the ddNTP
With the proper dNTP:ddNTP ratio (about 100:1), the chain will terminate throughout the length of the template.
All terminated chains will end in the ddNTP added to that reaction

## Slide 39: How is sequencing terminated at each of the 4 bases?
Chain terminates
at ddG
The 3′-OH group necessary for formation of the phosphodiester bond is missing in ddNTPs

## Slide 40: Sanger sequencing
ddATP +
ddA
four
dNTPs
dAdGdCdTdGdCdCdCdG
ddCTP +
dAdGddC
four
dNTPs
dAdGdCdTdGddC
dAdGdCdTdGdCddC
dAdGdCdTdGdCdCddC
ddGTP +
dAddG
four
dNTPs
dAdGdCdTddG
dAdGdCdTdGdCdCdCddG
ddTTP +
dAdGdCddT
four
dNTPs
dAdGdCdTdGdCdCdCdG
A
C
G
T
AGCTGCCCG

## Slide 41: Sanger di-deoxy method
ddG ddA ddT ddC
3′
A
A
G
C
A
A
C
G
T
G
C
A
G
5′
Longer fragments
Shortest fragments
G
A

## Slide 42: 1985: Automating Sanger Sequencing
Disadvantages of Sanger sequencing
  Labour intensive
  Used radioactive labels
  Interpretation/analysis was subjective
Difficult to scale up
Leroy Hood, Michael Hunkpiller developed an automated method utilising:
  Fluorescent labels instead of radioactivity
  Utilise computerised algorithms to analyse data
  Robotics

## Slide 43: Dye Terminator Sequencing
AC
GT
The fragments are distinguished by size and “color.”
A distinct dye or “color” is used for each of the four ddNTP.
Since the terminating nucleotides can be distinguished by color, all four reactions can be performed in a single tube.
A
T
G
T

## Slide 44: Dye Terminator Sequencing
Capillary
G
T
C
T
G
A
Slab gel
GATCAC
G A T C
The DNA ladder is resolved in one gel lane or in a capillary

## Slide 45: Dye Terminator Sequencing
The DNA ladder is read on an electropherogram.
Capillary
Slab gel
5′ AGTCTG
Electropherogram

## Slide 46: Automated Version of the Dideoxy Method

## Slide 47: Automated Sequencing
5′ A G T C T G
5′ AG(T/A)CTG
5′ A G A C T G
T/T T/A A/A
Dye primer or dye terminator sequencing on capillary instruments.
Sequence analysis software provides analyzed sequence in text and electropherogram form.
Peak patterns reflect mutations or sequence changes.

## Slide 48
Throughput | 50-100kb, 96 sequences per run
Read length | 0.5-2kbp
Accuracy | high quality bases - 99%: ~900bp very high quality bases - 99.9%: ~600bp 99.999%: 400-500bp
Price per raw base | ~$200,000/Gb
First generation (Sanger) sequencing

## Slide 49: Sanger Sequencing Useful videos
http://www.youtube.com/watch?v=91294ZAG2hg&feature=related
http://www.youtube.com/watch?v=bEFLBf5WEtc&feature=fvwrel

## Slide 50: The challenge of DNA sequencing
1869 – First DNA isolated
1944 – Establishing DNA as the genetic material
1953 – Double helix discovered
1957 – Central dogma proposed
1961 – Genetic code deciphered
1965 - First RNA sequence determined
1977 – Sanger DNA sequencing method published
How did we come to know so much about a molecule without being able to read it?
Why did it take so long?

## Slide 51: Some possible reasons
The chemical properties of different DNA molecules were so similar that it appeared difficult to separate them
The chain length of naturally occurring DNA molecules is much greater than for proteins and made complete sequencing seem unapproachable.
The 20 amino acid residues found in proteins have widely varying properties that had proven useful in the separation of peptides.
  Only four bases in DNA made sequencing a more difficult problem for DNA than for protein.
No base-specific DNAases were known.
  Protein sequencing had depended upon proteases that cleave adjacent to certain amino acids
DNA was considered boring compared to proteins
Clyde A. Hutchison III
DNA sequencing: bench to bedside and beyond Nucl. Acids Res. (2007) 35 (18): 6227-6237 a
Notes: Great example of how development of technology enabled paradigm shifts in thinking

## Slide 52
Human genome project

## Slide 53: Human Genome Project
One of the largest scientific endeavors
  Target accuracy 1:10,000 bases
  Started in 1990 by DoE and NIH
  $3Billion and 15 years
  Goal was to identify 25K genes and 3 billion bases
Used the Sanger sequencing method
Draft assembly done in 2000, complete genome by 2003, last chromosome published in 2006
Still being improved

## Slide 54: Human Genome Project
http://bit.ly/q3Qsd5

## Slide 55: How it was Accomplished
Public Project
  Hierarchical shotgun approach
  Large segments of DNA were cloned via BACs and located along the chromosome
  These BACs where shotgun sequenced
Celera
  Pure shotgun sequencing
  Used public data (released daily) to help with assembly

## Slide 56: Hierarchical Sequencing
http://www.icb.uncu.edu.ar/upload/dnasequencing.pdf

## Slide 57: Celera Shotgun Sequencing
Used paired-end strategy with variable insert size: 2, 10, and 50kbp

## Slide 58: HGP Data Access
Results in GenBank, UCSC, Ensembl & others

## Slide 59: Outcome of the HGP
Spurred the sequencing of other organisms
  36 “complete” eukaryotes (~250 in various stages)
  1704 “complete” microbial genomes
  2685 “complete” viral genomes
Enabled a multitude of related projects:
  Encode, modEncode
  HapMap, dbGAP, dbSNP, 1000 Genomes
  Genome-Wide Association Studies, WTCCC
  Medical testing, GeneTests, 23AndMe, personal genomes
  Cancer sequencing, COSMIC, TCGA, ICGC
Provided a context to organize diverse datasets
20110813 http://www.ncbi.nlm.nih.gov/sites/genome

## Slide 60: Achievements Since the HGP
ED Green et al. Nature 470, 204-213 (2011) doi:10.1038/nature09764

## Slide 61: Economic Impact of the Project
Battelle Technology Partnership Practice released a study in May 2011 that quantifies the economic impact of the HGP was $796 billion!
Genomics supports:
  >51,000 jobs
  Indirectly, 310,000 jobs
  Adds at least $67 billion to the US economy
http://www.genome.gov/27544383

## Slide 62: 2004 onwards: Beyond 1 species, 1 genome
Cost of producing a single genome could vary from $10,000s to $100,000s using capillary sequencers
Labour intensive methodology
New methods were required to lower the overall cost per genome

## Slide 63: Second generation short read technologies

## Slide 64: Large scale sequencing 2006
74x Capillary Sequencers
10 FTEs
15-40 runs per day
1-2Mb per instrument per day
120Mb total capacity per day
SEQUENCING
Rooms of equipment
Subcloning > picking > prepping
35 FTEs
3-4 weeks
PRODUCTION

## Slide 65: Large scale sequencing 2008
Illumina GAII sequencer

## Slide 66: Key advantages over Sanger Sequencing
Hugely reduced labour requirements
Cost per sequence
Reduced time to result
Decentralisation
PacBio
Sanger era
454 era
Illumina era

## Slide 67: Market share

## Slide 68: Fun fact
Clive Brown
Formerly director of Computational Biology at Solexa (Illumina)
Chief Technology Officer at Oxford Nanopore

## Slide 69
Illumina Sequencing By Synthesis
Illumina HiSeq
Illumina NextSeq
Illumina MiSeq

## Slide 70: Illumina Sequencing
http://www.illumina.com/Documents/products/techspotlights/techspotlight_sequencing.pdf

## Slide 71: Step 1: Sample Preparation
1
mRNA
Small RNA
Other Apps
ChIP-Sequencing
Genomic DNA
Active Chromatin
(Min 1ng)
1 ug total RNA
10 ng
0.5ug total RNA
Notes: Take purified genomic DNA (HOW MUCH?)
Fragment by nebulization
End up with fragments <800 bp
Repair ends (end polished) to form blunt end fragments with 5’ phosphorylated
DO WE DO A BLUNT END LIGATION or ADD AN ‘A’ OVERHANG? (ASK MARK)
Ligate adapters
Purify ligation product
Remove unligated adapters by gel purification (120-170 bp)
Now you have your gDNA library which is random fragments of DNA with an adapter ligated onto each end.
Purpose: To segue from explaining Solexa sequencing technology to demonstrate the flexibility of the system and discuss all current application data
Details: This slide represents many of the applications enabled by ILMN’s Genome Analyzer. Each application is animated to enter the slide individually.
Conclusion: ILMN’s Genome Analyzer enables much more than whole genome sequencing. One capital investment, one technology and training enables all these applications.

## Slide 72: Step 2: Clonal Single Molecule Arrays
~1000 molecules per ~ 1 um cluster ~2 billion clusters per flowcell
1 cluster = 1 sequence
Modified DNA (adapters on both ends)
Attach single molecules to surface
Amplify to form clusters
Random array of clusters
100um
Notes: Purpose: Graphic support to explain Solexa technology.
Details: There are 2 market unique features to the Solexa technology for genome analysis = template clusters (in the flow cell) and reversibly terminated, individually fluorescently labeled nucleotides for sequencing by synthesis. The steps for cluster generation supported by this slide are:
Initial DNA fragments (gDNA, ChIP or cDNA).
Ligate on adaptors to generate a template library.
Denature and deliver into the flow cell.
The flow cell is pre-coated with oligonucleotides complimentary to the adaptors.
On a random basis, the single strand template will hybridize with the complimentary oligo lawn.
This is a priming event that can be enzymatically extended to covalently attach the initial single strand template to the flow cell surface.
The other end of the template remains complimentary to the oligo lawn and will bridge over to it oligo compliment
This is a priming event that can be enzymatically extended to generate a clonal copy of the original template strand.
Repeating this process allows the generation of clusters of ~1000 clonal copies of the original single stranded template.
Graphics close with an image of actual clusters in a flow cell.
Conclusion: Explanation of technology behind cluster generation

## Slide 73: Step 3: Sequencing By Synthesis (SBS)
5’
G
T
C
A
G
T
C
A
G
T
C
A
G
3’
5’
C
A
G
T
C
A
T
C
A
C
C
T
A
G
C
G
T
A
First base incorporated
Cycle 1: Add sequencing reagents
Remove unincorporated bases
Detect signal
Cycle 2-n: Add sequencing reagents and repeat
Deblock and defluor
T
PPP
Base
Fluor
Notes: Purpose: Graphic support to explain Solexa technology.
Details: There are 2 market unique features to the Solexa technology for genome analysis = template clusters (in the flow cell) and reversibly terminated, individually fluorescently labeled nucleotides for Sequencing by Synthesis. The steps for sequencing by synthesis supported by this slide are:
Hybridize sequencing primer (complimentary to terminal adaptor)
Add polymerase and all 4 dNTPs
Each dNTP is individually fluoerscently labeled and is reversibly blocked at the 3’ hydroxyl
The 3’ block ensures only a single base addition.
Once the single base addition occurs the clusters can be excited by a laser and the color of the added base can be imaged and determined.
For every cluster, in cycle 1, the first base is added turning the entire cluster the color of the base. In the example shown in this cartoon at “T” is added, turning this cluster “green”.
Once the first base has been imaged and determined, the fluorescent label is cleaved and 3’ blocking group is removed, regenerating a 3’-OH and enabling extension.
Add polymerase and all 4 dNTPs and single base extension will occur for the second base in the template (in this cartoon the 2nd base is a “G”)
The clusters can be excited by a laser and the color of the 2nd base is imaged and determined (in this cartoon the cluster color would be “blue”)
Repeating this process allow us to step-wise determine the sequence of the original template.
Conclusion: Explanation of technology behind sequencing by synthesis

## Slide 74: Under the hood:

## Slide 75: Illumina Sequencing : How it looks
2 BILLION CLUSTERS
PER FLOW CELL
20 MICRONS
100 MICRONS
A C
G T
Notes: Purpose: To visually demonstrate sequencing by synthesis
Details: This is an actual cluster pattern from a flow cell (4-color overlay)
If you zoom in on one small section (the 20 micron box) you can follow each cluster through sequencing by synthesis
Conclusion: This is the visual set up to the following slide

## Slide 76
T T T T T T T G T …
The identity of each base of a cluster is read off from sequential images.
1
2
3
7
8
9
4
5
6
T
TG
TGC
T G C T A C G A T …
Base calling from raw data
Notes: Purpose: To visually demonstrate sequencing by synthesis
Details: A visual illustration of 9 cycles of sequencing by synthesis.
Following the 20 micron square from the previous slide you can see how the clusters change color each cycle.
Looking at the top circled cluster the color changes from green to blue, to red, to green…corresponding to T, G, C, T…
Looking at the bottom circled cluster the color is green, green, green, green, green…corresponding to a homopolymer T interrupted by a G (cycle 8)
This is a great moment to indicate our ability to accurately sequence homopolymers (unlike 454). Details are shown in the data description of our BAC sequencing standard later in this presentation.
Conclusion: Visual explanation of sequencing by synthesis
The current read lengths are 25-50 nt… this differs from what we are used to with capillary sequencing where sequence lengths of 650 bp can be achieved. So the next slides will give an introduction to how we use these highly parallel shorter reads.

## Slide 77: Paired-End Sequencing
Provides distance relationship between two reads
Important for many applications
  Characterise insertions, deletions, copy number variants, rearrangements
  Required for de novo genome assembly
  Enables sequencing across repeats
  Useful for isoform inference, transcriptome assembly etc.

## Slide 78: Illumina Paired-End Sequencing
Cluster
amplification
FLOWCELL
Linearize DNA
Read 1
FLOWCELL
Sequence 1st strand
Read 2
FLOWCELL
Sequence 2nd strand
FLOWCELL
Linearize DNA
FLOWCELL
Strand re-synthesis
1st cut
2nd cut

## Slide 79: Paired-end reads are important
Repetitive DNA
Unique DNA
Single read maps to
multiple positions
Paired read maps uniquely
Read 1
Read 2
Known Distance

## Slide 80: Working with Paired Reads
Applicable to different fragment size ranges - up to ~800 bp for standard paired-libraries - 2 - 20kb mate-pair libraries
Enables alignment software to assign unique positions to previously non-unique reads

## Slide 81
Illumina platforms
Illumina HiSeq
Illumina NextSeq 500
Illumina MiSeq
500Gbase/flowcell
8 human genomes
7 day run time
High output or rapid run mode
Read lengths up to 250bp
Requires large numbers of samples (or large genomes) to obtain lowest cost
4 colour chemsitry
£750,000 incl 3 year servicing
90Gbase/flowcell
1 human genome
2 day run time
High output or rapid run mode
Read lengths up to 150bp
2-colour chemistry
£250,000 incl 3 year servicing
15Gbase/flowcell
2 day run time
Read lengths up to 300bp
4 colour chemsitry
£120,000 incl 3 year servicing

## Slide 82
What does this mean?
Rapid run | High output run
48 genomes (£200 per sample) | 96 genomes/lane (<£100 per sample)
10 genomes (£400 per sample) | 10 genomes/lane (£250 per sample)
8 genomes (£500 per sample) | 8 genomes/lane (£300 per sample)
 | 1 genome (£3000)

## Slide 83: Potential issues with Illumina sequencing
Specific motifs which are difficult to sequence
  GGC motif
  Inverted repeats
Now mostly resolved
  Low diversity sequences
    16S/amplicon sequences
    Custom adaptors with barcodes at 5’ end
    Now a much reduced problem thanks to software updates
  GC/AT bias
    GC clusters are smaller than AT
    (less of a problem post June 2011)
  Nakamura, K., Oshima, T., Morimoto, T., Ikeda, S., Yoshikawa, H., Shiwa, Y., Ishikawa, S., et al. (2011). Sequence-specific error profile of Illumina sequencers. Nucleic acids research, gkr344–. Retrieved from http://nar.oxfordjournals.org/cgi/content/abstract/gkr344v1

## Slide 84: Why do quality scores drop towards the end of a read?

## Slide 85: 3 main factors
Schematic representation of main Illumina noise factors.
(a–d) A DNA cluster comprises identical DNA templates (colored boxes) that are attached to the flow cell. Nascent strands (black boxes) and DNA polymerase (black ovals) are depicted.
(a) In the ideal situation, after several cycles the signal (green arrows) is strong, coherent and corresponds to the interrogated position.
(b) Phasing noise introduces lagging (blue arrows) and leading (red arrow) nascent strands, which transmit a mixture of signals.
(c) Fading is attributed to loss of material that reduces the signal intensity (c).
(d) Changes in the fluorophore cross-talk cause misinterpretation of the received signal (blue arrows; d). For simplicity, the noise factors are presented separately from each other.
Erlich et al. Nature Methods 5: 679-682 (2008)
Phasing
Loss
Cross-talk
http://arep.med.harvard.edu/pdf/Fuller_09.pdf
Notes: 85

## Slide 86: New Illumina developments
2x250bp reads (HiSeq rapid run mode)
Ordered flowcells (HiSeq X-Ten)
10kb synthetic reads (approx. 5-6 million per lane)
  Useful for phasing of haplotypes and denovo assembly

## Slide 87: New Illumina Developments

## Slide 88: Limits to Illumina technology
Limitations:
  Reagent degradation
  Dephasing
    Leads to higher error rates
    A 1% loss of signal or polymerase error every cycle leads to only 35% correct signal after 100 cycles
  Sequencing time is always governed by the cyclic nature of the instrument (one base at a time)
    Ideally dispense with incorporate, image, wash cycles
  Size of fragments which can be clustered on the flowcell
    Read lengths beyond the size of the DNA fragment are useless
    Inefficient clustering >800bp

## Slide 89: 454 and Ion Torrent

## Slide 90: Fun fact
Jonathan Rothberg
Set up 454 in late 90s
Sold to Roche in 2007
Founded Ion Torrent in 2007
Superseded 454
Sold to Life Tech in 2010

## Slide 91: 454 Step 1: Sample preparation
Genomic DNA is isolated and fragmented.
Adaptors are ligated to single stranded DNA
This forms a library
4. The single stranded DNA library is immobilised onto proprietary DNA capture beads

## Slide 92: 454 Step 2: Amplification
Water-based emulsion PCR

## Slide 93: 454 Step 3: Load emPCR products
Picotitre plate

## Slide 94: 454 Step 4: Pyro-sequencing
Nucleotides are pumped sequentially across the plate
~ 1 million reads obtained during 1 run
Addition of nucleotides to DNA on a particular bead generates a light signal

## Slide 95: 454 Chemistry

## Slide 96: Life Technology Ion Torrent
454-like chemistry without dye-labelled nucleotides
No optics, CMOS chip sensor
Up to 400bp reads (single-end)
2 hour run-time (+5 hours on One Touch)
Output is dependent on chip type (314, 316 or 318)
318 (11M wells) >1Gbase in 3 hours
$700 per run
$50K for the instrument, plus $75k for additional One Touch station and Server
Libraries not compatible with Ion Proton

## Slide 97: Life Technology Ion Proton
454-like chemistry without dye-labelled nucleotides
No optics, CMOS chip sensor
Up to 200bp reads (single-end)
2 hour run-time (+8 hours on One Touch)
Output is dependent on chip type (P1 or P2 coming soon)
60-80 million reads (P1)
$1500 per run
$150K for the instrument, plus $75k for additional One Touch station and Server
Libraries not compatible with Ion Torrent

## Slide 98
Ion Torrent vs Ion Proton

## Slide 99: Ion Torrent

## Slide 100: Library prep
454 style library using emulsion PCR

## Slide 101: Ion Torrent

## Slide 102: Ion System

## Slide 103: Homopolymer errors
Different between signal of 1 and signal of 2 = 100%.
Different between signal of 5 and 6 is 20%
More difficult to decide if we have AAAAA or AAAAAA
Is the final sequence: ACTTNAAAAA or ANTTAAAAAAA or ATTAAAA…. Etc
A ?c TT - AAAAA?a
Length of homopolymer

## Slide 104: Third generation sequencers
My definition: single-molecule sequencing
Currently only PacBio RS is commercially available

## Slide 105: Pacific Biosciences RS II

## Slide 106: Introduction
Based on monitoring a single molecule of DNA polymerase within a zero mode waveguide (ZMW)
  150,000 ZMWs on a SMRT flowcell on PacBio RSII
Nucleotides with fluorophore attached to phosphate (rather than base) diffuse in and out of ZMW (microseconds)
As polymerase attaches complementary nucleotide, fluorescent label is cleaved off
Incorporation excites flurorescent label for milliseconds -> nucleotide recorded

## Slide 107: Library prep

## Slide 108: SMRT Cell

## Slide 109
Free nucleotides
Immobilised DNA
polymerase
Zero mode
waveguide
Laser and detector

## Slide 110: Observing a single polymerase

## Slide 111: What it looks like
PacBio ZMWs with single DNA strand
Ordered
Illumina DNA mono-colonal clusters
Unordered

## Slide 112: Output statistics
Approximately 50,000 sequences per SMRT flowcell
500Mb output per SMRT flowcell
  $500 per run
Library prep required
  ~$500 per sample
  ~0.5ug per sample
Size selection required to get the longest reads
Read lengths
  Distribution
  Mean 12kb up to 20-40kb

## Slide 113: Read lengths

## Slide 114: Novel applications
Epigenetic changes (e.g. Methylation) affect the amount of time a fluorophore is held by the polymerase
Circularise each DNA fragment and sequence continuously

## Slide 115: Epigenetic changes

## Slide 116: Circular consensus sequencing

## Slide 117: Circular consensus sequencing
Fichot, E. B., & Norman, R. S. (2013). Microbial phylogenetic profiling with the Pacific Biosciences sequencing platform. Microbiome, 1(1), 10. doi:10.1186/2049-2618-1-10

## Slide 118: Circular consensus sequencing for rRNA or microsatellites
http://www.sciencedirect.com/science/article/pii/S0167701213002728
http://www.biotechniques.com/multimedia/archive/00230/BTN_A_000114104_O_230651a.pdf
http://www.microbiomejournal.com/content/1/1/10

## Slide 119: Long reads to sequence highly repetitive loci
http://www.pacificbiosciences.com/pdf/Poster_AlleleLevelSequencing_PhasingFulllengthHLAClassIandIIGenes.pdf
Notes: HLA genes are around 6kb

## Slide 120: Issues to be aware of
PCR chimeras (affects all PCR amplicon methods)
Chimeric sequences can be generated during library preparation
Shorter sequences can be loaded preferentially
  Uniform amplicon size reduces this
  PacBio Magbead loading system

## Slide 121: Circular consensus sequencing (CCS)
Raw error rates of a single pass read is high (10-15%)
It is possible to read the same molecule repeatedly using CCS mode sequencing
Can do this 7-8 times to reduce error rates < 1%
Disadvantages
  Reduction in read length proportional to number of passes (e.g 7 passes – max read length 3kb).
  Reduction of total number of reads as some ZMW polymerases will fail

## Slide 122: Pacific Biosciences
Advantages
  Longer reads lengths (median 14kb up to 40kb with P6-C4 chemistry)
  40 minute run time
  Cost per run is low ($400 per run plus $400 per library prep)
  Same molecule can be sequenced repeatedly
  Epigenetic modifications can be detected
  Long reads enable haplotype resolution
Disadvantages
  Library prep still required (micrograms needed)
  If you use PCR based methods – you are no longer seqeuncing true single molecules
  Still enzyme based
  Only 50,000 reads/run. 400-500Mb yield
  High (10-15%) error rate per run (but consensus can reduce <1%)
  $900k machine

## Slide 123: Bioinformatics Implications
Relatively low data and high per base cost limits practical widespread use
Can obtain useful 20-40kb fragments (C6 chemistry)
Best used in conjunction with error correction algorithms utilising shorter PacBio reads (or Illumina data)
Excellent to assist scaffolding of genomes
Able to generate complete bacterial genomes
Has been used to generate higher eukaryote genomes (e.g. Drosophila) but cost is prohibitive
Sergey Koren, Adam M Phillippy, One chromosome, one contig: complete microbial genomes from long-read sequencing and assembly, Current Opinion in Microbiology, Volume 23, February 2015, Pages 110-120, ISSN 1369-5274, http://dx.doi.org/10.1016/j.mib.2014.11.014. (http://www.sciencedirect.com/science/article/pii/S1369527414001817)
Koren, Sergey; Schatz, Michael C; Walenz, Brian P; Martin, Jeffrey; Howard, Jason T et al. (2012)
Hybrid error correction and de novo assembly of single-molecule sequencing reads Nature biotechnology vol. 30 (7) p. 693-700
Chin, C.-S., Alexander, D. H., Marks, P., Klammer, A. A., Drake, J., Heiner, C., … Korlach, J. (2013). Nonhybrid, finished microbial genome assemblies from long-read SMRT sequencing data. Nature methods, 10(6), 563–9. doi:10.1038/nmeth.2474

## Slide 124: Genome assembly methods
http://www.sciencedirect.com/science/article/pii/S1369527414001817
Notes: Overview of long read assembly methods. (a) The hierarchical method uses a two-step process. Due to the difficulty of detecting noisy overlaps (i), other sequences (ii) are used to correct the noisy data. The sequences used for correction can be high-identity reads, assemblies of other reads, or even other long reads. Once the noisy reads are corrected, an assembly graph (iii) is constructed from the now high-accuracy data and the graph is simplified to a single contig (iv). (b) The scaffolding and gap patching methods start with complementary high-identity sequence data, which is first assembled. Once assembled, long reads are aligned and used to connect contigs (iii) or fill in missing sequence (iv). The filled and scaffolded contigs are output (v). (c) Read threading relies on resolving a short-read assembly graph using long reads. It differs from the scaffolding approach because it operates on the assembly graph rather than the contigs. First, an assembly graph is constructed from the complementary data (ii). The long reads are then layered onto the graph (iii) and used to resolve repeat-induced graph structures. The graph structure may then be resolved (iv).

## Slide 125: PacBio training resources
https://github.com/PacificBiosciences/Bioinformatics-Training/wiki

## Slide 126: Data processing

## Slide 127: Data processing

## Slide 128: Nanopore sequencing

## Slide 129: What is a nanopore?
Nanopore = ‘very small hole’
Electrical current flows through the hole
Introduce analyte of interest into the hole  identify “analyte” by the disruption or block to the electrical current
Current
flow
current
in
out

## Slide 130: Detection
http://ieeexplore.ieee.org/xpls/icp.jsp?arnumber=5626570

## Slide 131: Types of pore
Either biological or synthetic
Biological
  Lipid bilayers with alpha-haemlolysin pores
  Best developed
  Pores are stable but bilayers are difficult to maintain
Synthetic
  Graphene, or titanium nitride layer with solid-state pores
  Less developed
  Theoretically much more robust

## Slide 132: Nanopore DNA sequencing
Theory is quite simple
Feed a 4nm wide DNA molecule through a 5nm wide hole
As DNA passes through the hole, measure some property to determine which base is present
Holds the promise of no library prep and enormously parallel sequencing
In practice this is not easy to achieve
http://thenerdyvet.com/category/tech/

## Slide 133: Nanopore sequencing
In practice, it is much harder
Problems:
  DNA moves through the pore quickly
  Holes are difficult/impossible to design to be thin enough so that only one base is physically located within the hole
  DNA bases are difficult to distinguish from each other without some form of labelling
  Electrical noise and quantum effects make signal to noise ratios very low
  Search space for DNA to find a pore is large
http://omicfrontiers.com/2014/04/10/nanopore

## Slide 134: Nanopore sequencing
http://www.nature.com/nbt/journal/v30/n4/full/nbt.2181.html

## Slide 135
135
Nucleotide Recognition
Notes: 135
135

## Slide 136: Approaches to simplify nanopore sequencing
Slow down movement of bases through nanopore
  Use an enzyme to chop DNA up and sequence individual bases as they pass through a pore
  And/or use an enzyme to slow the progress of DNA through a pore
  Monitor capacitive changes in the bilayer
Hybridize labels to single stranded DNA
  Force the labels to disassociate as they pass through the pore
  Detect the labels
Niedringhaus, T. P., Milanova, D., Kerby, M. B., Snyder, M. P., & Barron, A. E. (2011). Landscape of next-generation sequencing technologies. Analytical chemistry, 83(12), 4327–41. doi:10.1021/ac2010857

## Slide 137: Companies involved
  ONT is closest to commercialisation
  Two approaches to sequencing
    Exo-nuclease sequencing (originally part of a co-marketing agreement with Illumina)
    Strand sequencing (now in commercialisation)
  Strand sequencing method is being commercialised by Oxford Nanopore

## Slide 138: Oxford Nanopore MAP programme
MinIon Access Programme
Provides access to several flowcells and reagents for library preparation
Beta testing programme – round 1
Round 1 closed to new applicants
Round 2 may re-open applications

## Slide 139: Oxford Nanopore

## Slide 140: Oxford Nanopore platforms

## Slide 141: DNA binding to membrane
Pore
Double stranded DNA fragment

## Slide 142: Oxford Nanopore principle

## Slide 143
http://www2.technologyreview.com/article/427677/nanopore-sequencing/

## Slide 144: MinIon features
512 pores
Library preparation is required
Read lengths up to 40-50kb
  Limited by input DNA
30Mb-500Mb output
  Very variable

## Slide 145: Library preparation
Input requirements
Upwards of 5ug of DNA
Issues – keeping long DNA fragments

## Slide 146: Challenge of basecalling

## Slide 147: Preliminary Oxford Nanopore R6 results
Oxford Nanopore have two chemistries – R6 and R7
R7 is more advanced but testing is only just beginning
R8 should arrive in the coming months

## Slide 148: Challenge of 5-mer basecalling
TTTTTATTTTT vs TTTTTCTTTTT

## Slide 149: Challenge of 5-mer basecalling
CGTATTCGAA vs CGTATCTCGAA

## Slide 150: Basecalling 1D vs 2D reads
Both the template and complementary strand can be sequenced
This doesn’t always work
If it does, the base-calling can be improved
Different kmers at the same locus can improve basecalling
Up to 40% of reads using latest chemistry are 2D
Attempts are being made to modify the library preparation to increase the proportion of 2D reads

## Slide 151: Lengths of 2D vs 1D reads

## Slide 152: Read lengths
Highly dependent on input DNA length
Difficult to preserve DNA lengths

## Slide 153: Longest perfect stretches

## Slide 155: Hard to read motifs
Hard Kmers
AAAAA
ACCTA
ACCTC
AGCGC
AGCTA
AGGTC
Easy Kmers
AAGAA
ACGAA
CGTTC
CTTTC
GAACG

## Slide 156: Coverage of an E.coli genome

## Slide 158
Assembly | N50 | Longest contig | Percentage of chromosome recovered in one contig | Misassemblies (Quast) | Mismatch errors/Indel errors
MiSeq only | 288kb | 434kb | ~48% | 3 | 161 / 46
MiSeq & MinION | 910kb | 910kb | ~100% | 6 | 662 / 107
Borrelia burgdorferi
Assembly stats

## Slide 159: Improvements
FASTQ – per base quality values don’t make much sense
Improvements to pore types
  Utilise multiple pore types on a single flowcell
  This would not make it a true single molecule sequencer since we would rely upon consensus (probably does not matter)
Library preparation
Flowcell reliability
Access to basecalling API

## Slide 160: ONT costs
Currently ~1500 euro per flowcell
  ONT anticipate approximate costs of 1000 euro per flowcell
Library preparation costs are considerable
  Hundreds of euros per sample

## Slide 161: Cost per megabase
Sanger era
454 era
Illumina era
Ox. Nanopore MinIon
PacBio

## Slide 162: Software packages
Processing ONT data
  Poretools https://github.com/arq5x/poretools
  poRe http://sourceforge.net/projects/rpore/
Alignment
Sensitive but slow aligners
    BLAST
    BLAT
    LAST
    BWA with the right parameters
Assembly
  At the moment data quality is too poor to attempt this with ONT data only
  Error correction with other data types should be possible with 15-20% error rate
  Short term fix, but may offer an alternative to PacBio or Illumina synthetic long reads

## Slide 163: Summary
Very encouraging but still early days
Far from portable although the potential exists
Error rate is ~30-40% for R6 2D reads
  Indications that it is ~20% for R7.3 2D reads
  Some success with completing bacterial genomes using this data
Probably 12 months before full commercial launch

## Slide 164: Opportunities for software development
Converting reference genomes to ‘wiggle-space’
Developing ‘wiggle-space’ aligners
Online ‘streaming’ bioinformatics
  Analytics - one read at a time

## Slide 165: General issues with nanopores
Single base-pair resolution is not available
  Typically 4-5 nucleotides fit into a nanopore
Only one detector per DNA strand
Fast translocation of DNA through pore
Small signal and high noise
Unstable lipid bilayers

## Slide 166: Nanowire alternatives
QuantumDx QSEQ

## Slide 167: Many others in development
http://www.allseq.com/knowledgebank/sequencing-platforms

## Slide 168: In conclusion
Francis Crick’s predictions for molecular biology in the year 2000:
  Replication of DNA
  Structure of chromosomes
  Meaning of the nucleic acid sequence
  Significance of repetitive sequences
  “In short, the whole field is likely to be even more fascinating in the year 2000 than it is now”
Francis Crick
1971
Notes: Man had only just landed on the moon…

## Slide 169
Thanks to:
Karen Moore
Audrey Farbos
Paul O’Neill
Wellcome Trust
Contact me:
k.h.paszkiewicz@exeter.ac.uk
http://biosciences.exeter.ac.uk/facilities/sequencing